## Sheet1
Topic | v1/devices/me/rpc/request/+ |  |  | v1/devices/me/attributes
| Command | Description | Program | Command | Description | Program
| {"method":"rpcCommand","params":"restart"} | Reboot System |  | {"ntp_remote_ip1":"x"} | 1,0 | /OFP-SYS/ofp-config/ntp-config.csv
| {"method":"rpcCommand","params":"ntp-run"} | Start NTP | initial-ntp | {"ntp_remote_ip2":"x"} | 1,1 | /OFP-SYS/ofp-config/ntp-config.csv
| {"method":"rpcCommand","params":"sftp-run"} | Start SFTP | initial-mqtt | {"ntp_remote_ip3":"x"} | 1,2 | /OFP-SYS/ofp-config/ntp-config.csv
| {"method":"rpcCommand","params":"mqtt-run"} | Start MQTT | initial-sftp
| {"method":"rpcCommand","params":"gsm-run"} | gsm network | write facotry-config, restart | {"mqtt_ip1":"x"} | 1,0 | /OFP-SYS/ofp-config/mqtt-config.csv
| {"method":"rpcCommand","params":"lan-run"} | lan network | write facotry-config, restart | {"mqtt_port1":"x"} | 1,1 | /OFP-SYS/ofp-config/mqtt-config.csv
| {"method":"rpcCommand","params":"ratio-run"} | change Ratio | write facotry-config, restart | {"mqtt_user1":"x"} | 1,2 | /OFP-SYS/ofp-config/mqtt-config.csv
| {"method":"rpcCommand","params":"ical-run"} | Current Calibration | write facotry-config, restart | {"mqtt_pass1":"x"} | 1,3 | /OFP-SYS/ofp-config/mqtt-config.csv
| {"method":"rpcCommand","params":"vcal-run"} | Voltage Calibration | write facotry-config, restart | {"mqtt_interval1":"x"} | 1,5 | /OFP-SYS/ofp-config/mqtt-config.csv
|  |  |  | {"mqtt_topic1":"x"} | 1,6 | /OFP-SYS/ofp-config/mqtt-config.csv
|  |  |  | {"mqtt_ip2":"x"} | 1,7 | /OFP-SYS/ofp-config/mqtt-config.csv
|  |  |  | {"mqtt_port2":"x"} | 1,8 | /OFP-SYS/ofp-config/mqtt-config.csv
|  |  |  | {"mqtt_user2":"x"} | 1,9 | /OFP-SYS/ofp-config/mqtt-config.csv
|  |  |  | {"mqtt_pass2":"x"} | 1,10 | /OFP-SYS/ofp-config/mqtt-config.csv
|  |  |  | {"mqtt_interval2":"x"} | 1,12 | /OFP-SYS/ofp-config/mqtt-config.csv
|  |  |  | {"mqtt_topic2":"x"} | 1,13 | /OFP-SYS/ofp-config/mqtt-config.csv
|  |  |  | {"sftp_ip1":"x"} | 1,0 | /OFP-SYS/ofp-config/sftp-config.csv
|  |  |  | {"sftp_port1":"x"} | 1,1 | /OFP-SYS/ofp-config/sftp-config.csv
|  |  |  | {"sftp_user1":"x"} | 1,2 | /OFP-SYS/ofp-config/sftp-config.csv
|  |  |  | {"sftp_pass1":"x"} | 1,3 | /OFP-SYS/ofp-config/sftp-config.csv
|  |  |  | {"sftp_schedule1":"x"} | 1,6 | /OFP-SYS/ofp-config/sftp-config.csv
|  |  |  | {"sftp_interval1":"x"} | 1,7 | /OFP-SYS/ofp-config/sftp-config.csv
|  |  |  | {"sftp_ip2":"x"} | 1,8 | /OFP-SYS/ofp-config/sftp-config.csv
|  |  |  | {"sftp_port2":"x"} | 1,9 | /OFP-SYS/ofp-config/sftp-config.csv
|  |  |  | {"sftp_user2":"x"} | 1,10 | /OFP-SYS/ofp-config/sftp-config.csv
|  |  |  | {"sftp_pass2":"x"} | 1,11 | /OFP-SYS/ofp-config/sftp-config.csv
|  |  |  | {"sftp_schedule2":"x"} | 1,14 | /OFP-SYS/ofp-config/sftp-config.csv
|  |  |  | {"sftp_interval2":"x"} | 1,15 | /OFP-SYS/ofp-config/sftp-config.csv
|  |  |  | {"lan_static":"x"} | 1,0 | /OFP-SYS/ofp-config/lan-config.csv
|  |  |  | {"lan_ip":"x"} | 1,1 | /OFP-SYS/ofp-config/lan-config.csv
|  |  |  | {"lan_netmask":"x"} | 1,2 | /OFP-SYS/ofp-config/lan-config.csv
|  |  |  | {"lan_gateway":"x"} | 1,3 | /OFP-SYS/ofp-config/lan-config.csv
|  |  |  | {"lan_dns":"x"} | 1,4 | /OFP-SYS/ofp-config/lan-config.csv
|  |  |  | {"permission":"x"} | 1,0 | /OFP-SYS/ofp-config/authentication.csv
|  |  |  | {"admin-pass":"x"} | 1,3 | /OFP-SYS/ofp-config/authentication.csv
|  |  |  | {"facotry-pass":"x"} | 1,4 | /OFP-SYS/ofp-config/authentication.csv
|  |  |  | {"ratio-1":"x"} | 1,0 | /OFP-SYS/ofp-config/measurement/ratio-ct.csv
|  |  |  | {"ratio-2":"x"} | 1,1 | /OFP-SYS/ofp-config/measurement/ratio-ct.csv
|  |  |  | {"ratio-3":"x"} | 1,2 | /OFP-SYS/ofp-config/measurement/ratio-ct.csv
|  |  |  | {"ratio-4":"x"} | 1,3 | /OFP-SYS/ofp-config/measurement/ratio-ct.csv
|  |  |  | {"ratio-5":"x"} | 1,4 | /OFP-SYS/ofp-config/measurement/ratio-ct.csv
|  |  |  | {"ratio-6":"x"} | 1,5 | /OFP-SYS/ofp-config/measurement/ratio-ct.csv
|  |  |  | {"ratio-7":"x"} | 1,6 | /OFP-SYS/ofp-config/measurement/ratio-ct.csv
|  |  |  | {"ratio-8":"x"} | 1,7 | /OFP-SYS/ofp-config/measurement/ratio-ct.csv
|  |  |  | {"ratio-9":"x"} | 1,8 | /OFP-SYS/ofp-config/measurement/ratio-ct.csv
|  |  |  | {"ratio-10":"x"} | 1,9 | /OFP-SYS/ofp-config/measurement/ratio-ct.csv
|  |  |  | {"ratio-11":"x"} | 1,10 | /OFP-SYS/ofp-config/measurement/ratio-ct.csv
|  |  |  | {"ratio-12":"x"} | 1,11 | /OFP-SYS/ofp-config/measurement/ratio-ct.csv
|  |  |  | {"oi-1":"x"} | 1,0 | /OFP-SYS/ofp-config/measurement/offset-i.csv
|  |  |  | {"oi-2":"x"} | 1,1 | /OFP-SYS/ofp-config/measurement/offset-i.csv
|  |  |  | {"oi-3":"x"} | 1,2 | /OFP-SYS/ofp-config/measurement/offset-i.csv
|  |  |  | {"oi-4":"x"} | 1,3 | /OFP-SYS/ofp-config/measurement/offset-i.csv
|  |  |  | {"oi-5":"x"} | 1,4 | /OFP-SYS/ofp-config/measurement/offset-i.csv
|  |  |  | {"oi-6":"x"} | 1,5 | /OFP-SYS/ofp-config/measurement/offset-i.csv
|  |  |  | {"oi-7":"x"} | 1,6 | /OFP-SYS/ofp-config/measurement/offset-i.csv
|  |  |  | {"oi-8":"x"} | 1,7 | /OFP-SYS/ofp-config/measurement/offset-i.csv
|  |  |  | {"oi-9":"x"} | 1,8 | /OFP-SYS/ofp-config/measurement/offset-i.csv
|  |  |  | {"oi-10":"x"} | 1,9 | /OFP-SYS/ofp-config/measurement/offset-i.csv
|  |  |  | {"oi-11":"x"} | 1,10 | /OFP-SYS/ofp-config/measurement/offset-i.csv
|  |  |  | {"oi-12":"x"} | 1,11 | /OFP-SYS/ofp-config/measurement/offset-i.csv
|  |  |  | {"ov-1":"x"} | 1,0 | /OFP-SYS/ofp-config/measurement/offset-v.csv
|  |  |  | {"ov-2":"x"} | 1,1 | /OFP-SYS/ofp-config/measurement/offset-v.csv
|  |  |  | {"ov-3":"x"} | 1,2 | /OFP-SYS/ofp-config/measurement/offset-v.csv
|  |  |  | {"ov-4":"x"} | 1,3 | /OFP-SYS/ofp-config/measurement/offset-v.csv
|  |  |  | {"ov-5":"x"} | 1,4 | /OFP-SYS/ofp-config/measurement/offset-v.csv
|  |  |  | {"ov-6":"x"} | 1,5 | /OFP-SYS/ofp-config/measurement/offset-v.csv
|  |  |  | {"ov-7":"x"} | 1,6 | /OFP-SYS/ofp-config/measurement/offset-v.csv
|  |  |  | {"ov-8":"x"} | 1,7 | /OFP-SYS/ofp-config/measurement/offset-v.csv
|  |  |  | {"ov-9":"x"} | 1,8 | /OFP-SYS/ofp-config/measurement/offset-v.csv
|  |  |  | {"ov-10":"x"} | 1,9 | /OFP-SYS/ofp-config/measurement/offset-v.csv
|  |  |  | {"ov-11":"x"} | 1,10 | /OFP-SYS/ofp-config/measurement/offset-v.csv
|  |  |  | {"ov-12":"x"} | 1,11 | /OFP-SYS/ofp-config/measurement/offset-v.csv